**St Anne Stanley CE Primary School Accessibility Plan 2017 – 2020**

**Improving the Physical Access at St Anne Stanley CE Primary School**

An Access Audit was carried out on 5.01.2017

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Access report ref** | **Priority** | **Activity** | **Responsibility** | **Short****term** | **Med term** | **Long term** | **Cost** | **Outcome/Progress** |
| 1. | Route leading into school from gate is not level. | Needs levelling to provide safer access. | HT | **X** |  |  |  | Work has been **completed.** Route into school is now level. |
| 2. | Threshold at entrance is 20mm. | Recommended to be 15mm with a chamfer. | HT | **X** |  |  |  | **Completed.** Threshold entrance now 15mm with a chamfer |
| 3. | No highlighted disabled parking bay. | To be provided inside school gates when requested and if in line with pupil safety. | HT |  |  | **X** |  | Work arranged for summer term. N/A – Site staff to support with parking if and when requested. |
| 4. | Disabled toilets | Should be provided with backrests. | HT | **X** |  |  |  | **Completed**.Back rest received installed during Easter break. |
| 6. | Door Handles | Some need to be between 900mm and 1000mm from floor level. | HT |  | **X** |  |  |  |
| 8. | Obstruction in corridors | Corridors should be kept free from obstruction esp near disabled toilet. | HT | **X** |  |  |  | **Completed**. All obstructions removed**.** |
| 9. | Handrails on stairs | Some need extending 300mm beyond last steps. | HT |  | **X** |  |  |  **Completed .** All handrails have been extended. |
| 10. | Emergency lighting | Additional lighting to be considered to bring levels to min of 10 lux. | HT |  |  | **X** |  | **Completed**. Additional lighting in place. |
| 11. | Handrail | To be provided into the school up the ramp. | HT | **X** |  |  |  | Work arranged for Easter break. |

**St Anne Stanley CE Primary School Accessibility Plan 2017 – 2020**

**Improving the Curriculum Access at St Anne Stanley CE Primary School**

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Target** | **Strategy** | **Outcome** | **Responsibility** | **Short term** | **Med term** | **Long****term** | **Achievement/Progress** |
| Audit of needs of current pupils. | Staff training to suit those needs. | Teachers are aware of relevant current issues. Report back at pupil progress meetings. | SLT |  |  | **X** | **Complete**. The needs of all learners have been met. Ongoing discussions during pupil progress meetings. |
| Diabetes/asthma/stoma training | Training by specialist nurses. | Individual pupils supported. | SENCo | **X** |  |  | **Completed**. Arranged annually unless any changes. Training is up to date.  |
| RAS awareness training | Staff training |  | SENCo | **X** |  |  | **Complete.** Staff training has been undertaken and staff are aware of procedures to follow. |
| Specialised areas in classrooms | Safe spaces, concentration stations organised in individual classrooms | Emotional/educational needs of individual children supported. | SENCO | **X** |  |  | **Completed**. Safe spaces for individual classrooms have arranged for individual children. |

**St Anne Stanley CE Primary School Accessibility Plan 2017 – 2020**

**Improving the Delivery of Written Information at St Anne Stanley CE Primary School**

An Access Audit was carried out on 5.01.2017

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Target** | **Activity** | **Responsibility** | **Short term** | **Med****term** | **Long term** | **Cost** | **Outcome/Progress** |
| Review signage around school | Audit signage around school to ensure accessibility to all. | SENCo/HT | **X** |  |  |  | **Completed**. Audit undertaken – appropriate signage in place. |
| Audit provision for dyslexic pupils and staff | Provide coloured paper for photocopying. | SLT | **X** |  |  |  | **Completed.** Coloured paper available for dyslexic pupils. Quotes arranged for whole school to have the same provision. |
| Raise awareness of font size and page layouts to support pupils with visual impairments. | Inset/training for staff. | SENCo | **x** |  |  |  | **Completed.** Staff aware of support needed if required. |